## Sheet1
[5 empty] | Assessment Methodology | No. of Questions
[5 empty] | Theory | 50 MCQs (20 Hard: 15 Medium: 15 Easy) equally distributed among NOSs
QP Name | COVID Frontline Worker (Medical Equipment Support) |  |  |  | Practical | 1 Practical per NOS
QP Code | HSS/Q5604 (v1.0) |  |  |  | Viva | 2-3 Questions per NOS
Minimum qualifciation | 10th standard + ITI Diploma with 3 years of experience post ITI OR Diploma in technical subjects (electronic/mechanical/ electrical/ computers/ any other related field) |  |  |  | Passing Percentage | 70% (cumulative)
Training Duration | 312 Hours, 35 Days
Basis of calculation of training days | 9 hours per day, No holidays
Training Outcomes | 1. Operation, functioning and clinical application of equipment’s such as Ventilator, BIPAP and CPAP, Oxygen Equipment (Concentrator & Cylinder), Digital Thermometer (IR), Flowmeter, Humidifier, Pulse Oximeter, Multipara Monitor, Nebulizer, BP Instrument, ECG machine. 2. Carry out operational checks on medical devices. 3. Calibrate, Preventive Maintenance and Troubleshooting 4. Collect, Segregate and Dispose bio medical waste 5. Aiding for infection control measures at the workplace 6. Data collection, entry, and record maintenance 7. Donning and Doffing of Personal Protective Equipment (PPE)
Name of equipments selected for crash course | 1. Ventilator 2. BIPAP and CPAP 3. Oxygen Equipment (Concentrator & Cylinder) 4. Digital Thermometer (IR) 5. Flowmeter 6. Humidifier 7. Pulse Oximeter 8. Multipara Monitor 9. Nebulizer 10. BP Instrument 11. ECG machine 12. Suction apparatus and its pipelines 13. Steam inhalor 14. Spirometer
DAY | Module Name | Session Name | Session Objectives | NOS Reference | Theory /Practical | Methodology | Duration (in hrs.) | Assessment Marks |  |  |  | eContent Access URL
[8 empty] | Theory | Practical | Project | Viva
1 | HSS/N9622: Follow Sanitization and Infection Control Guidelines | Basics of COVID | 1. Basics of Covid -19 2. Waste Disposal Method 3. Identifying and Reporting Symptoms 4. Incident Reporting and Risk management 5. Self-Quarantine and Self Isolation 6. Role of healthy nutrition in Covid 19 7. Types of vaccine 8. Recognize AEFI (Adverse effects following immunization) of COVID vaccination | HSS/N9622: Follow Sanitization and Infection Control Guidelines | Theory | Instructor led training using participant handbook and videos | 2 | 17 | 8 | 2 | 3 | https://eskillindia.org/Course/course_detail/111738920200729013212 https://eskillindia.org/Course/course_detail/118746920200821064502 https://www.youtube.com/watch?v=1n1jel8vaFY https://www.youtube.com/watch?v=BkrTXt4G51U
1 | HSS/N9622: Follow Sanitization and Infection Control Guidelines | Basics of COVID | 1. Prevention of COVID 19 and know of covid appropirate behaviour (frequent handwashing and sanitization) 2. Donning and Doffing of PPE 3. Waste Disposal Method 4. Cleaning of spillage 5. Monitoring Vital | HSS/N9622: Follow Sanitization and Infection Control Guidelines | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 4 |  |  |  |  | https://eskillindia.org/Course/course_detail/111738920200729013212 https://eskillindia.org/Course/course_detail/118746920200821064502
1 | Introduction to the Program | Objectives of the Program | 1. State the overview of the job role 2. Learn about ground rules 3. Code of ethics and therapeutic Communication | Bridge Module | Theory | Instructor led training using participant handbook and videos | 1 | 100 | 100 | 40 | 50 | https://eskillindia.org/Course/course_detail/117409820190216034025
1 | Introduction to the Program | Introduction to the Healthcare Industry | 1. Learn about Healthcare Industry 2. Learn about COVID specific care facilities, portals and resources for latest updates about COVID protocols | Bridge Module | Theory | Instructor led training using participant handbook and videos | 1 |  |  |  |  | https://eskillindia.org/Course/course_detail/117409820190216034025
1 | Introduction to the Program | Different Departments in a Hospital | 1. Orientation to different departments in Hospital | Bridge Module | Theory | Instructor led training using participant handbook and videos | 1 |  |  |  |  | https://eskillindia.org/Course/course_detail/117409820190216034025
2 | Recaputlation |  |  | Bridge Module | Practical | Quiz ,Game play, | 2
2 | Introduction to the Program | Tools and Equipment specific to related job role | Identify different types of medical instruments and equipment to be taught in the program and the tool kit to be used for its repair and maintenance | Bridge Module | Theory | Instructor led training using participant handbook and videos | 1
2 | Introduction to the Program | Tools and Equipment specific to related job role | Identify different types of medical instruments and equipment to be taught in the program and the tool kit to be used for its repair and maintenance Basics of Cold chain management of COVID vaccine | Bridge Module | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 3
2 | Understanding the working of basic equipment | Identification of basic equipment | 1. Identify types of cables and connectors. 2. Identification of surface mounted devices 3. Identify types of PCB. | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 4
3 | Understanding the working of basic equipment | Identification of basic equipment | 1. Test diode and transistors. 2. Ability to test the components using multimeter | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9
4 | Understanding the working of basic equipment | Identification of basic equipment | 1. Identify types of cables and connectors. 2. Identification of surface mounted devices 3. Identify types of PCB. 4. Test diode and transistors. 5. Ability to test the components using multimeter | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
5 | Understanding the working of basic equipment | Working of Basic equipments | 1. Working knowledge of circuits 2. Working knowledge of spectrum | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9
6 | Understanding the working of basic equipment | Working of Basic equipments | 1. Soldering of surface mounted devices 2. Understand working of Regulated DC power supply. | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9
7 | Understanding the working of basic equipment | Working of Basic equipments | 1. Working knowledge and hands on experience with designing of circuits 2. Working knowledge of spectrum 3. Soldering of surface mounted devices 4. Understand working of Regulated DC power supply. | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
8 | Understanding the working of basic equipment | Working of Basic equipments | 1. Mini project and troubleshooting of the circuit. 2. Draw and describe the basic circuits of rectifier, filter, regulator and amplifiers. 3. Read the data sheets of diode and transistors. 4. Follow standard test procedures. | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9
9 | Understanding the working of basic equipment | Working of Basic equipments | 1. Mini project and troubleshooting of the circuit. 2. Draw and describe the basic circuits of rectifier, filter, regulator and amplifiers. | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 18
10 | Understanding the working of basic equipment | Working of Basic equipments | 1. Read the data sheets of diode and transistors. 2. Practice standard test procedures. | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 18
11 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Digital Thermometer (IR), Pulse Oximeter, Nebulizer, BP Instrument, ECG machine, Spirometer and Steam Inhaler | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9 |  |  |  |  | https://www.youtube.com/watch?v=FIqt9MXcOaw&list=PLLw2d6i2ab1dGZqny0Pj-6yniM43s2kAv&index=15 https://www.youtube.com/watch?v=2BJXGo9VJ6E&list=PLLw2d6i2ab1dGZqny0Pj-6yniM43s2kAv&index=2
12 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Oxygen Equipment (Concentrator & Cylinder), Flowmeter, Humidifier, Suction Apparatus and its pipelines | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9 |  |  |  |  | https://www.youtube.com/watch?v=Y6LJqnOxPa8&list=PLLw2d6i2ab1dGZqny0Pj-6yniM43s2kAv&index=14
13 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Ventilator, BIPAP and CPAP, Multipara Monitor | HSS/N5607: Understanding the working of basic equipment | Theory | Instructor led training using participant handbook and videos | 9
14 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Digital Thermometer (IR), BP Instrument, Spirometer | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
15 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Flowmeter, Humidifier | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
16 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Oxygen Equipment (Concentrator & Cylinder) | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
17 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Pulse Oximeter, ECG machine | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
18 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Ventilator | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
19 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : BIPAP and CPAP | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
20 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Multipara Monitor | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
21 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Nebulizer, Steam Inhaler | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
22 | Understanding the working of basic equipment | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Suction Apparatus and its pipelines | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
23 | Recaputlation | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Ventilator, BIPAP and CPAP, Oxygen Equipment (Concentrator & Cylinder), Digital Thermometer (IR), Flowmeter, Humidifier, Pulse Oximeter, Multipara Monitor, Nebulizer, BP Instrument, ECG machine, Spirometer, Suction Apparatus its pipelines and Steam Inhaler | HSS/N5607: Understanding the working of basic equipment | Theory | Quiz ,Game play, | 2
23 | Recaputlation | Working of Basic equipments | 1.Familiarizing and working with components of equipment : Ventilator, BIPAP and CPAP, Oxygen Equipment (Concentrator & Cylinder), Digital Thermometer (IR), Flowmeter, Humidifier, Pulse Oximeter, Multipara Monitor, Nebulizer, BP Instrument, ECG machine, Spirometer, Suction Apparatus its pipelines and Steam Inhaler | HSS/N5607: Understanding the working of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 7
24 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Awareness of the safety aspects of medical instruments: : Ventilator, BIPAP and CPAP, Oxygen Equipment (Concentrator & Cylinder), Digital Thermometer (IR), Flowmeter, Humidifier, Pulse Oximeter, Multipara Monitor, Nebulizer, BP Instrument, ECG machine,Spirometer, Suction Apparatus and its pipelines and Steam Inhaler | HSS/N5608: Calibration and maintenance of basic equipment | Theory | Instructor led training using participant handbook and videos | 9 | 70 | 90 | 20 | 20
25 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Awareness of the safety aspects of medical instruments: : Digital Thermometer (IR), Pulse Oximeter, Nebulizer, BP Instrument, ECG machine, Spirometer, and Steam Inhaler | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 4
26 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Awareness of the safety aspects of medical instruments: : Oxygen Equipment (Concentrator & Cylinder), Flowmeter, Humidifier, Suction Apparatus and its pipelines | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 4
27 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Awareness of the safety aspects of medical instruments: : Ventilator | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 4
28 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Awareness of the safety aspects of medical instruments: : BIPAP and CPAP, Multipara Monitor, | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 4
29 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Measuring physical quantities accurately. 2. Mini project and troubleshooting of the circuit. 3. Applications of various instruments. 4. Check graphs/ waveforms for accuracy and correctness. 5. Demonstrate On call assistance by giving assistance to hospital staff regarding the fault 6. Read and interpret the graph. 7. Interpreting the results from observations and calculations. 8. Proper handling of instruments 9. Know installation procedure. | HSS/N5608: Calibration and maintenance of basic equipment | Theory | Instructor led training using participant handbook and videos | 7
30 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Measuring physical quantities accurately. 2. Mini project and troubleshooting of the circuit. | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
31 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Applications of various instruments. 2. Proper handling of instruments | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
32 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Demonstrate On call assistance by giving assistance to hospital staff regarding the fault | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
33 | Calibration and maintenance of basic equipment | Testing and maintenance | 1. Check graphs/ waveforms for accuracy and correctness. 2. Read and interpret the graph. 3. Interpreting the results from observations and calculations. | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
34 | Recaputlation | Testing and maintenance | 1.Hands-on practice: Ventilator, BIPAP and CPAP, Oxygen Equipment (Concentrator & Cylinder), Digital Thermometer (IR), Flowmeter, Humidifier, Pulse Oximeter, Multipara Monitor, Nebulizer, BP Instrument, ECG machine, Spirometer, Suction Apparatus and its pipelines and Steam Inhaler | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 9
35 | Calibration and maintenance of basic equipment | Testing and maintenance | 1.Documentation of installation, calibration and maintenance with data entry as per protocols. | HSS/N5608: Calibration and maintenance of basic equipment | Theory | Instructor led training using participant handbook and videos | 2
35 | Calibration and maintenance of basic equipment | Testing and maintenance | 1.Documentation of installation, calibration and maintenance with data entry as per protocols. | HSS/N5608: Calibration and maintenance of basic equipment | Practical | ·Practical Training and exposure for hands on in skill lab using videos facilitated by instructors. | 7